## Instructions
Files required to be turned into the city:
1. Pdf and AutoCAD files
2. GIS shape files
3. Excel spreadsheets
Adobe pdf and AutoCAD files must include the following:
Adobe pdf #1 |  | Pdf of approved project plan set. Must show all improvements, all property lines, grades, pipes, buildings, plantings, easements, infrastructure, text,
notes, pipe charts, labels, etc.
Adobe pdf #2 |  | Pdf of as-built plan set. Must show as-built data for stormwater system including structures, pipes, bmps, and all associated data.
AutoCAD #1 |  | Full approved plan set. File must include all layers, blocks, reference files, etc. (PE or LA seal and signature may be removed prior to providing to the city).
AutoCAD #2 |  | As-built plan set. (PE or LA seal and signature may be removed prior to providing to the city).
Shape files for GIS:
Each of the following must be provided as a separate shape file. All shape files must be provided on NAD 1983 State Plan Georgia West coordinate system. All stormwater shape files must be based on as-built.
Shape file source and name: | Type: | Notes:
Stormwater Structures | Point | Each structure is a point not a circle, not a polygon.
Stormwater Conveyance | Line | Each conveyance (pipe or ditch) is a single line.
BMPs | Point | Each stormwater BMP is a point, not a polygon, not a shape.
Sidewalk Centerline | Line | Each roadway adjacent sidewalk is represented by a single line in the center of the sidewalk.
Roadway Centerline | Line | Each roadway is represented by a single line in the center of the roadway.
Impervious surface | Polygon | Private impervious area should be represented by polygons around each building and each driveway. Private roadway shall also be represented by a polygon.
Public roads do not need to be outlined by a polygon.
Excel files for text / labels:
All stormwater shape files must be based on as-built.
For each stormwater structure you need to provide the following information:
structure ID |  | Please include the ID used in the adobe pdf and autocad files submitted to the city
structure type |  | choose between the following: catch basin, drop inlet, flume, headwall/flared end section, junction box, trench drain
structure shape |  | choose between the following: If catch basin pick either SWCB or DWCB. If drop inlet pick yard inlet, grate inlet, or hooded grate inlet. If headwall /
flared end section pick winged or plain end. If junction box pick round. All others leave empty.
city responsibility |  | choose Yes or No. Yes if in public right-of-way, No if on private property
collection status |  | choose either inlet, outlet, or N/A. If water enters from any way other than just a pipe, this is an inlet. If water daylights and leaves the system, this is
an outlet. Others, such as a junction box are N/A
regulatory outfall |  | choose Yes or No. All projects should choose No.
depth to invert out |  | Provide the depth in feet (XX.XX)from the top to the outlet.
year installed |  | Input year of installation
For each stormwater conveyance you need to provide the following information:
conveyance ID |  | Please include the ID used in the adobe pdf and autocad files submitted to the city
conveyance type |  | choose between the following: closed conduit (pipe) and ditch
conveyance shape |  | choose between the following: If closed conduit pick road, elliptical, or rectangular. If ditch pick live bottom (this means grassed or landscaped, not
paved) or paved.
span |  | indicate conveyance width in feet (XX.XX)
height |  | indicate conveyance height in feet (XX.XX)
material |  | choose between the following: coated corrugated metal pipe, HDPE, or reinforced concrete pipe. If grassed or pervious ditch leave blank.
city responsibility |  | choose Yes or No. Yes if in public right-of-way, No if on private property. If crossing both inside and outside right-of-way select No.
upstream invert |  | provide the depth in feet (XX.XX) from the top of the structure at the upstream end to the invert of the pipe. Leave blank on ditch.
upstream ID |  | provide the structure ID of the structure on the upstream end of this conveyance
downstream invert |  | provide the depth in feet (XX.XX) from the top of the structure at the downstream end to the invert of the pipe. Leave blank on ditch.
downstream ID |  | provide the structure ID of the structure on the upstream end of this conveyance
pipe length |  | provide pipe length in feet (XX.XX)
year installed |  | input year of installation
For each stormwater BMP you need to provide the following information:
BMP ID |  | Please include the ID used in the adobe pdf and autocad files submitted to the city
BMP type |  | Choose between the following: bioretention, cistern, constructed wetlands, enhanced swale, green roof, infiltration trench pervious paver, pond,
proprietary device, sand filter, stormceptor, underground detention, vegetated filter strip. If your BMP is not represented here, contact the city.
maintenance responsibility |  | choose Public or Private. All projects should choose private.
green infrastructure
For each road provide the following information:
Road name |  | include all road names
Road width |  | provide road width (in feet)
For each roadway adjacent sidewalk provide the following information:
Sidewalk ID |  | Provide some way to distinguish between sidewalks if material or width vary
Sidewalk material |  | provide sidewalk material (concrete, asphalt, brick, crushed slate, other)
Sidewalk width |  | provide sidewalk width (in feet)

## FORM to be filled out 1
Project Name:
Engineering Firm:
Engineer of Record:
structure ID | structure type | structure shape | city responsibility | collection status | regulatory outfall | depth to invert out | year installed

## FORM to be filled out 2
Project Name:
Engineering Firm:
Engineer of Record:
conveyance ID | conveyance type | conveyance shape | span | height | material | city responsibility | upstream invert | upstream ID | downstream inert | downstream ID | pipe length | year installed

## FORM to be filled out 3
Project Name:
Engineering Firm:
Engineer of Record:
BMP ID | BMP type | maintenance responsibility | green infrastructure

## FORM to be filled out 4
Project Name:
Engineering Firm:
Engineer of Record:
Roadway Name | Roadway width

## FORM to be filled out 5
Project Name:
Engineering Firm:
Engineer of Record:
Sidewalk ID | Sidewalk material | Sidewalk width